Levels of Emergency

Localized or Temporary Emergencies
Functional units should have documented plans for dealing with localized emergencies such as individual system failures, temporary power outages, temporary loss of required HVAC, localized smoke conditions, etc., where temporary means the resource is expected to be functional within the tolerance of the application being unavailable.  Localized emergency plans should cover emergencies at the floor or building level.  Such emergencies may prevent personnel from access to systems or locations for health and safety purposes.

Extended Emergencies and Disasters

Extended emergencies and disasters include those situations when resources are unavailable or inaccessible for extended periods of time due to building, campus, or larger geographic area involvement.  Resources (locations, power, HVAC, etc.) will be unavailable or inaccessible for a period longer than can be tolerated by the application.  Examples of disasters may include weather, earthquakes, accidents, health crises, civil disorder, terrorism, fire and/or flood damage, criminal investigations, building safety issues, etc.  In such instances, plans need to be available to support required applications from an alternative location using alternative resources.

